General

Test Number: Date: Project Number: Project Name: Area: Bldg: Work Package Number:

Test Information

System Description: Description of Test Boundaries: Applicable Code: ML: 1 2 3 4 Test Method: Hydrostatic Pneumatic Pressure Decay In-Service Design Pressure: psi Design Temperature: °F

Test Requirements

Required Test Pressure: psi Required Test Duration: minutes

Gauge Pressure Calculation

Elevation Difference Between Gauge and High Point (Enter value in feet): ft Times Factor: 0.4327 psi/ft Head Pressure (elevation difference multiplied by times factor): psi Required Gauge Pressure (required test pressure plus head pressure): psi

Pre-Test Reviews

Piping Adequately Supported: Yes No (If No, Explain): Water Quality Satisfactory: Yes No (If No, Explain): Test Relief Valve(s) in Place: Yes No (If No, Explain): Inspector: Date:

Test Equipment

Type: I.D.: Range: Cal. Date: Cal. Due: Type: I.D.: Range: Cal. Date: Cal. Due: Type: I.D.: Range: Cal. Date: Cal. Due: Remarks:

Test Results

Test Date: Start Time: Finish Time: Actual Gauge Pressure: psi Pressure Drop: psi Leakage Noted:

Test Acceptance

Inspector: Date:

Restoration

System Restored: Yes No Remarks: Inspector: Date: