Section 01 1117 
Work by Owner-Self Perform

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 2 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) General POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specification sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements may be added if increased confidence in procurement or execution is desired, and independent review of final section is required; see LANL ESM Chapter 1 - General, Section Z10 Att F.

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Amendments to other specification sections used for LANL self-perform work (i.e., Requirement Changes and Clarifications).

This section takes precedence over those sections, allowing them to be used with reduced editing (i.e., LANL master specification sections need not be tailored for matters handled by this section, since LANL will refer to this section in case of conflict, etc.).

RELATED REQUIREMENTS

Section << 01 3300 - Submittal Procedures>>

      - ***************************************************************************************

      - The following Article Reference Standards is a designer-choice.

      - ***************************************************************************************

REFERENCE STANDARDS

None

REQUIREMENT CHANGES AND CLARIFICATIONS

Word Substitutions:

| When encountering this… | Take to mean this: |
| --- | --- |
| Construction Subcontractor or Subcontractor | LANL self-perform entity |
| Form 2178 SDDR | Section 01 2500 Substitution Form |
| Subcontract | Work scope |
| Subcontract Number | Work Order (WO) number |
| Subcontract Technical Representative (STR) | LANL craft superintendent(s) or N/A |

      - ***************************************************************************************

      - Bills of Materials are typically on drawings while a Consolidated Bill of Materials is a project’s compilation of all BOMs. This Article clarifies LANL ESM Chapter 1 - General, Section Z10 Att. F.

      - "Adequately defined” means all necessary information to procure the correct item with necessary quality, be it manufacturer/model/part number or necessary salient features.

      - Design Agency production of CBOM is the preferable approach to ensuring correctness, and rigor in producing CBOM must be comparable to design if being relied upon for nuclear safety; alternatively, design agency review/approval of a CBOM produced by other-than-engineering may be satisfactory but appropriate rigor in review is required when nuclear safety may be impacted. Note, at time of writing PSE-IM (DCRM) treated CBOMs as submittals, but they tended to lack an identifier (acronym and unique number); this is due, in part, because they were not considered an engineering deliverable.

      - ***************************************************************************************

CBOM Usage:

When an item not requiring submittals or specific inspection is adequately defined in a BOM, CBOM, or material takeoff, it is not required to be discussed in the Specification Sections or Drawings so long as the Design Agency either produced the CBOM or approved it.

CBOMs must not conflict with design outputs; incorrect document(s) shall be revised to eliminate conflicts.

Section << 01 3300 - Submittal Procedures>> Attachment A Construction Submittal Log - Schedule:

| Code | Subcontract Meaning | Take to mean this: |
| --- | --- | --- |
| A | Per Subcontract Schedule | Per work schedule |
| B | Prior to Balance of Payment | Prior to work package closure |
| M | Prior to Mobilization | Prior to field or shop work |
| N | Prior to Notice to Proceed | Prior to work authorization |
| Y | Prior to Progress Payment for Each Specific Task | Prior to major task or phase completion; in all cases prior to work package closure |

PART 2 - PRODUCTS (NOT USED)

PART 3 - EXECUTION (NOT USED)

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 01 1117, REV. 2, DATED APRIL 15, 2026.