Section 07 0553 
Fire and Smoke Assembly Identification

  - *************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 1 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural/Fire POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specification sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Identification markings for ​<< Click to select fire/smoke assembly from drop down menu;  Fire-Rated Walls;  Fire-Rated Barriers;  Fire-Rated Partitions;  Smoke Barriers; and  Smoke Partitions>>​​.

      - ***************************************************************************************

      - Section << 07 8400 - Firestopping>>​ is not referenced in the body of this Section. Including it is a designer-choice.

      - ***************************************************************************************

RELATED REQUIREMENTS

Section << 01 2500 - Substitution Procedures>>​

Section << 07 8400 - Firestopping>>

Section << 09 9100 - Painting>>​

REFERENCE STANDARDS

ICC (IBC) - International Building Code.

ACTION SUBMITTALS

Product Data: Manufacturer's printed product literature for each type of marking, indicating font, foreground and background colors, wording, and overall dimensions.

INFORMATIONAL SUBMITTALS

Schedule: Completely define scope of proposed marking, and indicate location of affected walls and partitions, and number of markings.

Samples: Submit << two samples;  one sample; or  _______>>, << of each type of marking proposed for use, ; or  None - N/A>>of size similar to that required for project, illustrating font, wording, and method of application.

QUALITY ASSURANCE

Manufacturer Qualifications: Company specializing in manufacturing the products specified in this Section with minimum << three; or  _______>> years of<< documented ; or  None - N/A>>experience.

PART 2 - PRODUCTS

    - **********************************************************************************************

      - The following Article Product Options and Substitutions is a designer-choice Retain when project allows for substitutions.

    - **********************************************************************************************

PRODUCT OPTIONS AND SUBSTITUTIONS

Alternate products may be accepted; follow Section ​​<< 01 2500 - Substitution Procedures>>​​.

MANUFACTURERS

Partition Identification Labels:

Fire Wall Signs, Inc.

Safety Supply Warehouse, Inc.

<< _______>>

FIRE AND SMOKE ASSEMBLY IDENTIFICATION

Regulatory Requirements: Comply with Section 703.5 "Marking and Identification" requirements in Chapter 7 of <<ICC (IBC)>>.

Adhered Fire and Smoke Assembly Identification Signs: Printed ​​<< vinyl;  paper; or  ______>>​​ sign​​<< with factory applied adhesive backing; or  None - N/A>>​​.

Applied Fire and Smoke Assembly Identification: Identification markings applied to partition with paint and a code compliant stencil. See Section << 09 9100 - Painting>> for products.

Languages: Provide sign markings in English.

PART 3 - EXECUTION

EXAMINATION

Verify that substrate surfaces are ready to receive work.

PREPARATION

See Section << 09 9100 - Painting>> for substrate preparation for painted markings.

INSTALLATION

Marking size, wording and location as required by <<ICC (IBC)>>, Section 703.5.

Example wording:

          - **********************************************************************

          - Retain the following subparagraphs based on project-scope.

          - **********************************************************************

FIRE-RATED WALL – 2 HOUR

FIRE-RATED BARRIER

FIRE-RATED PARTITION

SMOKE BARRIER

SMOKE PARTITION

Install adhered markings in accordance with manufacturer's instructions.

Install applied markings in accordance with Section << 09 9100 - Painting>>​.

Install neatly, with horizontal edges level.

Protect from damage until Date of Substantial Completion; repair or replace damaged markings.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 07 0553, REV. 1, DATED APRIL 15, 2026.