Section 08 7100 
Door Hardware

  - *************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 7 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable Sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects. For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 specifications and quality sections.

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Hardware for ​​​​​​​​<< Click to select rating option(s) from drop down menu;  non fire-rated; and  fire-rated>>​​​​​​​​ ​​​​​​​​<< Click to select option(s) from the drop down menu;  hollow metal doors;  hollow metal frames;  wood doors;  overhead coiling doors; and  aluminum-framed entrances and storefronts>>​​​​​​​​

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain the type(s) of hardware required based on project-specific requirements. Selections here update the entire Section.

        - ******************************************************************************

Butt Hinges

Lock Cores and Keying

Locks, Latches and Bolts - ​​​​​<< Click to select options from the drop down menu;  Mechanical Strikes;  Electric Strikes;  Flush Bolt;  Mortise Type Locks and Latches;  Cylindrical Type Lockset; and  VTR Door Locksets>>​​​​​

Exit Devices

​​​​<< Click to select operators, closers and door control devices from the drop down menu;  Power Door Operators;  Door Closers; and  Door Stops>>​​​​

Door Trim Units

Door Seals and Gaskets

Weather Stripping

Thresholds

RELATED REQUIREMENTS

Section << 08 1100 - Metal Doors and Frames>>

Section << 08 1213 - Hollow Metal Frames>>​

Section << 08 1400 - Wood Doors>>

Section << 08 3323 - Overhead Coiling Doors>>​

Section << 08 4113 - Aluminum-Framed Entrances and Storefronts>>

Section ​​<< 28 1321 - Administrative Access Control System Rough-In>>​​

Section << 28 4600 - Fire Detection and Alarm>>

    - **********************************************************************************************

      - The standards listed below are provided for reference only and are not listed within the body of this Section. It is a designer-choice to include these standards.

      - <<BHMA A156.8>>

      - <<BHMA A156.12>>

      - <<BHMA A156.15>>

      - <<BHMA A156.23>>

    - **********************************************************************************************

REFERENCE STANDARDS

ABA Standards - ABA Accessibility Standards.

ASTM E90 - Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements.

ASTM E413 - Classification for Rating Sound Insulation.

BHMA A156.1 - Standard for Butts and Hinges.

BHMA A156.2 - Bored and Preassembled Locks and Latches.

BHMA A156.3 - Exit Devices.

BHMA A156.4 - Door Closers and Pivots.

BHMA A156.5 - Cylinders and Input Devices for Locks.

BHMA A156.6 - Standard for Architectural Door Trim.

BHMA A156.7 - Template Hinge Dimensions.

BHMA A156.8 - Door Controls - Overhead Stops and Holders.

BHMA A156.12 - Interconnected Locks.

BHMA A156.13 - Mortise Locks and Latches.

BHMA A156.15 - Release Devices - Closer Holder, Electromagnetic and Electromechanical.

BHMA A156.16 - Standard for Auxiliary Hardware.

BHMA A156.18 - Standard for Materials and Finishes.

BHMA A156.19 - Power Assist and Low Energy Power Operated Swinging Doors.

BHMA A156.21 - Thresholds.

BHMA A156.22 - Standard for Gasketing.

BHMA A156.23 - Electromagnetic Locks.

BHMA A156.31 - Electric Strikes and Frame Mounted Actuators.

BHMA A156.115 - Hardware Preparation in Steel Doors and Frames.

BHMA A156.115W - Hardware Preparation in Wood Doors with Wood or Steel Frames.

FM (AG) - FM Approval Guide.

FS FF-L-2890 - Lock Extensions (Pedestrian Door Lock Assembly Preassembled, Panic and Auxiliary Deadbolt).

NFPA 80 - Standard for Fire Doors and Other Opening Protectives.

NFPA 101 - Life Safety Code.

NFPA 105 - Standard for Smoke Door Assemblies and Other Opening Protectives.

NFPA 252 - Standard Methods of Fire Tests of Door Assemblies.

UL (DIR) - Online Certifications Directory.

UL 10B - Standard for Fire Tests of Door Assemblies.

UL 10C - Standard for Positive Pressure Fire Tests of Door Assemblies.

UL 325 - Standard for Door, Drapery, Gate, Louver, and Window Operators and Systems.

UL 1034 - Standard for Safety Burglary-Resistant Electrical Locking Mechanisms.

UL 1784 - Standard for Air Leakage Tests of Door Assemblies and Other Opening Protectives.

      - ***************************************************************************************

      - Retain the following Article when lock cores and keying are required for project.

      - ***************************************************************************************

LANL FURNISHED AND INSTALLED EQUIPMENT

Permanent lock cylinder cores and keying.

COORDINATION

Supply templates to manufacturer for door and frame preparation.

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

      - ***************************************************************************************

ACTION SUBMITTALS

Catalog data for each item of hardware. Include information necessary to show compliance with the specified requirements, and include instructions for installation and for maintenance of operating parts and finish.

Materials list in the form of a final hardware schedule per Article << 3.5; or  _______>> Hardware Schedule.  Coordinate hardware with doors, frames and related work to ensure proper size, thickness, hand, function and finish of hardware.

Final Hardware Schedule: Based on finish hardware indicated, organize hardware schedule into "hardware sets" indicating complete designations of every item required for each door or opening.  Include the following information:

Type, style, function, size and finish of each hardware item.

Name and manufacturer of each item.

Fastenings and other pertinent information.

Location of hardware set cross-referenced to indications on Drawings.

Explanation of all abbreviations, symbols, codes, etc. contained in schedule.

Mounting locations for hardware.

Keying information.

        - ******************************************************************************

        - Retain the following subparagraph when required for project. Retain this subparagraph when hollow metal frames are in project-scope.

        - ******************************************************************************

Submittal Sequence: Submit hardware schedule at earliest possible date, particularly where acceptance of hardware schedule must precede fabrication of other work (e.g., hollow metal frames). Include with hardware schedule, the project data, samples, shop drawings of other work affected by finish hardware, and other information essential for the coordinated review of hardware schedule.

INFORMATIONAL SUBMITTALS AT CLOSEOUT

Provide 5-year warranty on materials and installation workmanship on door hardware specified in this Section. Repair or replace all failed items.

      - ***************************************************************************************

      - Retain the following paragraph for power door operators.

      - ***************************************************************************************

Provide manufacturer’s standard materials and workmanship warranty for electromechanical door operators.

Furnish a complete set of specialized tools and maintenance instructions as needed for LANL's continued adjustment, maintenance, removal and replacement of door hardware.

QUALITY ASSURANCE

Regulatory Requirements: Comply with provisions contained in the above referenced nationally-accepted Codes and Standards, unless otherwise specified herein.

Single Source Responsibility: Obtain each type of hardware (locksets, hinges, closers, etc.) from a single manufacturer specializing in the manufacture of that hardware type.

Supplier Qualifications: Obtain hardware from a recognized architectural hardware supplier that has a record of successful in-service performance for supplying door hardware similar in quantity, type, and quality to that indicated for this Project.

      - ***************************************************************************************

      - Retain the following paragraph when door hardware at fire-rated openings are required for project.

      - ***************************************************************************************

Fire-Rated Openings: Provide door hardware for fire-rated openings that complies with <<NFPA 80>> and <<NFPA 101>> requirements. Provide door hardware that are listed and are identical to products tested by <<UL (DIR)>>, Warnock Hersey, or <<FM (AG)>>, for use on types and sizes of doors indicated in compliance with requirements of fire-rated door and frame labels.

DELIVERY, STORAGE, AND HANDLING

Tag or package each item separately, with identification related to final hardware schedule, and include basic installation instructions with each item or package.

Provide secure lock-up for hardware delivered to the project, but not yet installed. Control handling and installation of hardware items that are not immediately replaceable, to avoid delay in completion of the Work by hardware losses, both before and after installation.

PART 2 - PRODUCTS

GENERAL

Requirements for design, grade, function, finish, size and other distinctive qualities of each type of finish hardware are to be indicated in the Final Hardware Schedule. Products listed herein are identified by ANSI/BHMA A156 Series hardware designation numbers.

Drawings show direction of swing or hand of each door leaf.  Furnish each item of hardware for proper installation and operation of door movement as shown.

Do not use manufacturer's products that have manufacturer's name or trade name displayed in a visible location except in conjunction with required UL labels and approved by LANL.

      - ***************************************************************************************

      - The following three paragraphs are designer-choices. Retain the first paragraph when hollow metal doors are in project-scope. Retain the second paragraph when hollow metal frames are in project-scope. Retain the third paragraph when wood doors are in project-scope.

      - ***************************************************************************************

Refer to Section ​​​<< 08 1100 - Metal Doors and Frames>>​​​ for silencers integral with hollow metal frames, for door and frame reinforcements for surface-mounted hardware and for factory pre-fitting, factory pre-machining of doors for door hardware, and door reinforcements for surface-mounted hardware.

Refer to Section ​<< 08 1213 - Hollow Metal Frames>>​ for silencers integral with hollow metal frames and for door and frame reinforcements for surface-mounted hardware.

Refer to Section ​<< 08 1400 - Wood Doors>>​ for factory pre-fitting, factory pre-machining of doors for door hardware, and door reinforcements for surface-mounted hardware.

Produce hardware units of basic metal and forming method indicated, using the manufacturer's standard metal alloy, composition, temper and hardness. Construction of hardware units must conform to applicable ANSI/BHMA A156 series standards for each type hardware item and finish designation indicated. Do not furnish "optional" materials or forming methods, unless specified otherwise.

Provide hardware manufactured to conform to published templates, generally prepared for machine screw installation. Do not provide hardware that has been prepared for self-tapping sheet metal screws.

Furnish screws for installation, with each hardware item. Provide Phillips flat-head screws unless otherwise indicated.  Finish exposed (exposed under any condition) screws to match hardware finish, or if exposed in surfaces of other work, to match finish of such other work as closely as possible, including "prepared for paint" in surfaces to receive painted finish.

Provide concealed fasteners for hardware units that are exposed when door is closed, unless no standard units of type specified are available with concealed fasteners.  Do not use thru-bolts for installation where bolt head or nut on opposite face is exposed, except where it is not feasible to adequately reinforce the work.  In such cases, provide sleeves for each thru-bolt or use sex bolt fasteners.

      - ***************************************************************************************

      - The following Articles Butt Hinges; Lock Cores and Keying; Locks, Latches and Bolts; Exit Devices; Operators, Closers and Door Control Devices; Door Trim Units; Door Seals and Gaskets; Weather Stripping and Thresholds are designer-choices. Retain Articles for the type(s) of hardware required based on project-specific requirements.

      - ***************************************************************************************

BUTT HINGES

Conform to <<BHMA A156.1>> and <<BHMA A156.7>>.

Templates: Provide only template-produced units.

        - ******************************************************************************

        - Retain the following subparagraph when wood doors and frames are selected for project.

        - ******************************************************************************

Exception: For hinges and pivots to be installed entirely (both leaves) into wood doors and frames.

Provide butts of five knuckle; ball bearing type.

Screws:

Use Phillips flat-head or machine screws for installation of units into frames other than wood.

        - ******************************************************************************

        - Retain the following subparagraph when wood doors and frames are selected for project.

        - ******************************************************************************

Use Phillips flat-head or wood screws for installation of units into wood.

Finish of screw heads shall match surface of hinges or pivots.

Hinge Pins: Except as otherwise indicated, provide hinge pins as follows:

Steel Hinges: Steel pins.

Non-ferrous Hinges: Stainless steel pins.

All Doors: Non-removable pins.

Tips: Flat button and matching plug, finished to match leaves.

Number of Hinges: Provide number of hinges indicated but not less than 3 hinges per door leaf for doors 90 inches or less in height and one additional hinge for each 30 inches of additional height or fraction thereof.

LOCK CORES AND KEYING

Manufacturer: Best Access Systems, subsidiary of Stanley.  Alternate Manufacturers or products shall not be accepted.

Conform to <<BHMA A156.5>>.

Cores: Provide 7-pin interchangeable core inserts for each type of lockset/exit device indicated.

Keying: Furnish lockset cylinders with cores for use during construction.  Provide keys as required to control access during the construction period.  Prior to final transfer, provide 2 control keys to LANL for use when installing permanent lockset cores. Permanent cores and keying will be furnished and installed by LANL.

LOCKS, LATCHES AND BOLTS

      - ***************************************************************************************

      - The following paragraph is a designer-choice. Retain when required for project.

      - ***************************************************************************************

Refer to Section ​​<< 28 1321 - Administrative Access Control System Rough-In>>​​ for electrical connection to activate door locks.

      - ***************************************************************************************

      - The following two paragraphs are designer-choices for mechanical and electric strikes. Retain based on project-specific requirements. Electric strikes are used for access-control, fail-safe/fail-secure doors. Mechanical strikes are used in manual mechanical doors.

      - ***************************************************************************************

Mechanical Strikes: Provide manufacturer's standard wrought box strike for each latch or lock bolt, with curved lip extended to protect frame, finished to match hardware set.

Provide dust-proof strikes for foot bolts, except where special threshold construction provides non-recessed strike for bolt.

Provide roller type strikes where recommended by manufacturer of the latch and lock units.

Electric Strikes

Manufacturers:

Adams Rite Manufacturing Company

Folger Adam Security Inc.

Hanchett Entry Systems, Inc.

Von Duprin.

<< _______>>.

Comply with <<BHMA A156.31>>, Grade 1 requirements and <<UL 1034>>.

          - **********************************************************************

          - Retain the following subparagraph when electric strikes at fire-rated opening are required for project.

          - **********************************************************************

At fire-rated openings, provide UL listed Fire Door Accessory, Category 10B, for use with 3 hour "A" labeled doors.

Provide Electric strikes that are compatible with types and models of locksets or exit devices being installed.

Provide solenoid actuated, heavy-duty, tamper-resistant electric strikes constructed of corrosion-resistant metals, with stainless steel cases and springs.

Electric strikes shall be non-handed, field-reversible, and horizontally adjustable to compensate for door/frame misalignment.

Electric strike function with << 12; or  24>> VDC solenoid operating voltage:

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain the first subparagraph for electric strikes at non fire-rated openings. Retain the second subparagraph for electric strikes at fire-rated openings. At fire-rated openings, specify only Fail-Secure strikes.

          - **********************************************************************

At non fire-rated openings, electric strike function shall be ​<< Fail-Secure (unlocked when energized); or  Fail-Safe (locked when energized)>>​.

At fire-rated openings, electric strike function shall be Fail-Secure (unlocked when energized).

Electric strikes shall accommodate internal switches for remote monitoring and control as required.

Provide electric strikes with compatible transformers and rectifiers as required to complete the system for voltages specified. Electrical accessories shall be provided by the strike manufacturer.

Finish: Hardware finish code number << 630, satin stainless steel; or  _______>>, per <<BHMA A156.18>>.

      - ***************************************************************************************

      - Lock throw secures the door to the frame by engaging the strike.

      - ***************************************************************************************

Lock Throw: Locks throws must comply with <<BHMA A156.2>>,  <<BHMA A156.5>>​, or <<BHMA A156.13>>, depending on lock type.

        - ******************************************************************************

        - The following subparagraphs are designer-choices. Retain the first subparagraph for lock throw at pairs of doors. Retain the second subparagraph for lock throw at fire-rated openings.

        - *****************************************************************************

Provide 5/8 inch minimum throw of latch and deadbolt used on pairs of doors.

For fire-rated openings, comply with UL requirements for throw of bolts and latch bolts.

      - ***************************************************************************************

      - Retain the following paragraph when flush bolts required for project. Flush bolts are provided on a pair of doors on the inactive leaf.

      - ***************************************************************************************

Flush Bolt: Provide minimum 1/2 inch diameter rods of brass, bronze or stainless steel, with minimum 12 inch long rod for doors up to 7 feet in height. Provide longer rods as necessary for doors exceeding 7 feet in height.

      - ***************************************************************************************

      - The following two paragraphs are designer-choices for mortise type and cylindrical locksets. Retain based on project-specific requirements. Mortise lock is heavy duty, has more components, higher security, requires rectangular pocket prep, and is typically used in high-traffic, secure or rated doors. Cylindrical lockset is simpler with a quicker install and lower cost, and is typically used in offices and light-to-medium commercial applications.

      - ***************************************************************************************

Mortise Type Locks and Latches

Manufacturer: Best Access Systems, subsidiary of Stanley.  Alternate Manufacturers or products shall not be accepted.

Conform to <<BHMA A156.13>>, Series 1000, Operational Grade 1, Security Grade 2, and be UL listed for use on 3 Hour "A" labeled doors.

Provide 47H Series, heavy-duty mortise locksets with levers and trim items as specified. Provide lockset with cylinder housing that accepts interchangeable 7-pin core as specified in Article ​<< 2.3; or  _______>>​ Lock Cores and Keying.

Levers: Provide << Style 3, solid tube with return levers; or  _______>>. Provide levers at entrances into hazardous areas (i.e., electrical rooms) with a tactile (TL style) finish.

Trim: Provide Style ​<< H, 2-9/16 inch diameter flat rose; or  J, wrought escutcheon plate>>​ to match mortise lockset configuration.

Finish: Hardware finish code number << 625, bright chromium plated; or  _______>>, per <<BHMA A156.18>>.

Provide mortise locksets that fit the door preparation based on the following standard(s):

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain based on the type(s) of door(s) selected for project.

          - **********************************************************************

<<BHMA A156.115>> for steel frames/doors

<<BHMA A156.115W>>​ for wood doors

Cylindrical Type Locksets

Manufacturer: Best Access Systems, subsidiary of Stanley. Alternate Manufacturers or products shall not be accepted.

Conform to <<BHMA A156.2>>, Series 4000, Grade 1, and provide UL listing for use on 3 Hour "A" labeled single swinging doors.

Provide 9K Series, extra heavy-duty cylindrical locksets with levers and trim Items as specified. Provide lockset with interchangeable 7-pin core as specified in Article ​<< 2.3; or  _______>>​  Lock Cores and Keying.

Levers: Provide << Style 14;  Style 15; or  _______>> return levers. Provide levers at entrances to hazardous areas (i.e. electrical rooms) with a tactile (TL style) finish.

Trim: Provide Style D, 3-1/2 inch convex rose to match lever.

Finish: Hardware finish code number << 625, bright chromium plated; or  _______>>, per <<BHMA A156.18>>.

Provide cylindrical locksets that fit the door preparation based on the following standard(s), as modified to meet additional manufacturer recommendations:

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain based on the type(s) of door(s) selected for project.

          - **********************************************************************

<<BHMA A156.115>> for steel frames/doors

<<BHMA A156.115W>> for wood doors

      - ***************************************************************************************

      - Retain the following paragraph when VTR door locksets are required for project. Vault Type Room (VTR) doors require special applications of lockset hardware. Edit paragraph below according to type of door(s) — in-swinging, out-swinging, single leaf or double leaf, exit device or lever, and with access controls (badge reader which is typical of all VTR entries). Confirm selections with LANL Lock Shop. Note, for self-perform by LANL, lock shop personnel perform installation.

      - ***************************************************************************************

VTR Door Locksets

Manufacturers:

Sargent & Greenleaf, Model 2890C.

<< _______>>.

Conform to <<FS FF-L-2890>>, Type ​<< II, PDPL (Lever with access control badge reader); or  IV, PDLAP (Exit device on inside, lever outside, with access control badge reader)>>​ and Kaba Mas X-10 combination lock.

Strikes: ​​<< #2 for out-swing door;  #3 for in-swing door; or  #4 for double doors>>​​.

EXIT DEVICES

Manufacturers:

Von Duprin.

Sargent.

Corbin Russwin.

Dorma Architectural Hardware.

<< _______>>.

Conform to <<BHMA A156.3>>, Grade 1.

        - ******************************************************************************

        - Retain the following subparagraph when exit devices at fire-rated openings are required for project.

        - ******************************************************************************

Exit devices at fire-rated openings shall comply with requirements of <<NFPA 80>> and <<NFPA 101>>.

      - ***************************************************************************************

      - The following two paragraphs are designer-choices. Retain based on project-specific requirements.

      - ***************************************************************************************

Flush and Wide Stile Doors

Provide Series ​​<< Von Duprin 98; or  Von Duprin 99>>​​ touchbar type ​​<< exit rated; or  fire rated>>​​​, ​​<< rim;  surface vertical rod; or  concealed vertical rod>>​​ exit devices.

Narrow Stile Doors

Provide Series ​​<< Von Duprin 33A; or  Von Duprin 35A>>​​ touchbar type ​​<< exit rated; or  fire rated>>​​, ​​<< rim;  surface vertical rod; or  concealed vertical rod>>​​​ exit devices.

Where closers are installed on doors equipped with exit devices, provide exit devices with keyed dogging to hold push bar down and latch bolt in the retracted position. Provide devices with field convertible hex key dogging to high security cylinder dog operation.

Provide non-handed exit devices, capable of direct field conversion for all available trim functions.

Provide exit devices with hydraulic sound dampers.

All working parts to be made of stamped steel.

Latch bolts to be self-lubricating to reduce friction and wear.

All rim and vertical rod exit devices to be capable of electric trim activation.  Provide Manufacturer’s available accessory products, including power supplies, monitoring switches and controls to complete the system.  All components to be UL listed.

Trim: Provide exit device trim to accept 7-pin interchangeable cores as specified in Article ​<< 2.3; or  _______>>​ Lock Cores and Keying.

Finish: Hardware finish code number ​​<< 625, bright chromium plated;  626, satin chromium plated; or  _______>>​​, per <<BHMA A156.18>>.

OPERATORS, CLOSERS, AND DOOR CONTROL DEVICES

      - ***************************************************************************************

      - The following three paragraphs are designer-choice. Retain based on project-specific requirements.

      - A powered door operator is an electromechanical device that automatically opens and closes a door via a motion sensor, push button or access control signal. It is used in accessible areas, high-traffic entries and in areas requiring hands-free operation. When specifying powered door operators, the design requirements are to be coordinated to ensure operator, card readers, actuators, and electric strike functionality.

      - ***************************************************************************************

Powered Door Operators

Manufacturers:

LCN Closers, an Ingersoll-Rand Business.

Dorma Architectural Hardware.

Stanley.

<< _______>>.

Comply with requirements of <<BHMA A156.19>> and <<ABA Standards>>. Provide UL listed operators per <<UL 325>> for:

Self-closing doors

          - **********************************************************************

          - Retain the following subparagraph when fire-rated openings are in project-scope.

          - **********************************************************************

Fire-rated openings

Operators to be surface mount low energy electromechanical units complete with controls and actuators.

Operator opening force, time delay, and the opening, closing and back check speeds are to be individually adjustable.

Operators to include a vestibule function for sequencing operation of two units.

Operators to have on/off strike switch to delay operation while locking device releases.

Provide operators with a Push & Go feature to activate low energy or power assist with the door.

Provide operator with a safety feature that reverses the direction of door travel if it contacts an object during either opening or closing.

Provide operators with a power boost feature to increase latching force to ensure secure latching in severe wind or stack conditions.

Operator power supply to provide ​<< 12 VDC; or  24 VDC>>​ outputs to power card readers, electric locking devices, and other peripherals.

Actuators to be hardwired ​<< 12 VDC; or  24 VDC>>​ round ​<< 4-1/2 inch; or  6 inch>>​ diameter stainless steel touch plates with engraved blue-filled handicapped symbol.  Actuators to be installed in manufacturer’s standard flush or surface mounting boxes to be located on a vertical surface or free-standing post near the controlled door.

Finish: Manufacturer’s standard painted or dark bronze anodized aluminum.

      - ***************************************************************************************

      - A door closer is a mechanical or hydraulic device that automatically closes a door after it's opened. It is used in fire-rated doors, exterior doors, interior corridor doors (for smoke control and privacy), and access controlled doors.

      - ***************************************************************************************

Door Closers

Conform to <<BHMA A156.4>>, << Type C02011, hinge-side mounting, for interior and exterior in-swinging doors; or  Type CO2021, parallel arm mounting, for exterior and corridor out-swinging doors>>.  Closers to be surface type with modern << full; or  slim line>> covers.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain when required for project.

        - ******************************************************************************

Refer to Section ​<< 28 4600 - Fire Detection and Alarm>>​ for electrical connection to activate door closers.

Size of Units:  Except as otherwise specifically indicated, comply with the manufacturer's recommendations for size of door control unit depending upon size of door, exposure to weather and anticipated frequency of use. Where parallel arms are indicated for closers, provide closer unit one size larger than recommended for use with standard arms.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain when access-free manual closers are required for project.

        - ******************************************************************************

Access-free Manual Closers: Where manual closers are indicated for doors required to be accessible to the physically handicapped, provide adjustable units for door opening force and delayed action closing.

Finish: Manufacturer's standard powder-coated or painted finish to match other hardware installed at opening.

      - ***************************************************************************************

      - A door stop is a simple passive device that prevents a door from opening too far, protecting the wall, door or hardware from damage.

      - ***************************************************************************************

Door Stops

Conform to <<BHMA A156.16>>, L42101, L42251, L12141 or L12161, as applicable. Provide gray resilient parts for exposed bumpers.

DOOR TRIM UNITS

Fasteners: Provide manufacturer's standard exposed fasteners, either machine screws or self-tapping screws, for door trim units (kick plates, edge trim, viewers, knockers, mail drops and similar units).

Edge Trim: Fabricate edge trim items of anodized aluminum in length of not more than 1/2 inch nor less than 1/16 inch smaller than door dimension.

Kickplates: Fabricate kickplates not more than 1-1/2 inches less than door width and 12 inches high. Kickplates shall conform to <<BHMA A156.6>>, Type J102. Plates shall be a minimum of 0.050 inch thick stainless steel, with finish code number << 630, satin stainless steel; or  _______>> per <<BHMA A156.18>>.

DOOR SEALS AND GASKETS

Manufacturers:

National Guard Products, Inc.

Assa Abloy / Pemko.

<< _______>>.

      - ***************************************************************************************

      - The following two paragraphs are designer-choices. Retain the first paragraph for fire-rated doors. Retain the second paragraph for non fire-rated doors.

      - ***************************************************************************************

Provide self-adhesive intumescent products complying with <<BHMA A156.22>> for fire-rated doors. Provide ​<< seals; or  gaskets>>​ for ​<< 20;  45;  60; or  90>>​ minute rated door perimeter.

Provide self-adhesive << neoprene; or  silicone>> products complying with <<BHMA A156.22>> for non fire-rated doors.

      - ***************************************************************************************

      - Retain the following paragraph for fire-rated doors. The following subparagraphs are designer-choices. Retain based on type(s) of door(s) selected for project based on project-specific requirements.

      - ***************************************************************************************

Fire Gasketing

Hollow Metal fire doors rated up to 3 hours/Wood fire doors rated up to 1-1/2 hours.

<<UL 10B>> Classified, complying with <<NFPA 252>>.

IBC Positive Pressure Hollow Metal fire doors rated up to 3 Hours/Wood fire doors rated up to 1-1/2 Hours.

<<UL 10C>> Classified, complying with IBC Positive Pressure requirements.

Category “J” listed.

      - ***************************************************************************************

      - Retain the following paragraph for fire-rated doors. The following subparagraphs are designer-choices. Retain based on type(s) of sealing system(s) selected for project based on project-specific requirements.

      - ***************************************************************************************

Smoke Gasketing

Edge Sealing System

Required for Category “B” listed Wood fire doors to meet IBC Positive Pressure requirements.

Category “G” listed.

Smoke and Draft Control Gasketing:

For use on all “S” labeled IBC Positive Pressure doors.

Category “H” listed.

Comply with <<UL 1784>>, <<NFPA 105>>​ and IBC Positive Pressure requirements.

Combination Edge Sealing System and Smoke Draft Control Gasketing:

Required for Category “B” Listed Wood fire doors to meet Positive Pressure and “S” Label requirements.

Category “G” and “H” Listed.

Acoustical Gasketing.

          - **********************************************************************

          - The following subparagraph is a designer-choice. Retain when required for project.

          - **********************************************************************

Can be used on Positive Pressure assemblies.

Category “J” listed.

Tested to <<ASTM E90>> and <<ASTM E413>>.

Automatic Door Bottoms and Thresholds.

Smoke Assembly: Any <<UL 10C>> classified threshold, automatic door bottom, door sweep or door shoe may be installed (although not required) on an “S” label door without affecting the label.

Acoustical Assembly: Provide automatic door bottoms and compatible thresholds as tested to <<ASTM E90>> and <<ASTM E413>>.

WEATHER STRIPPING

General: Except as otherwise indicated, provide continuous weatherstripping at each edge of every exterior door leaf. Provide non-corrosive fasteners as recommended by manufacturer for application indicated. Provide weather stripping with manufacturer’s standard clear or bronze anodized finish.

Replaceable Seal Strips: Provide only units for which resilient seal is easily replaceable and readily available from stocks maintained by manufacturer.

THRESHOLDS

General: Comply with <<BHMA A156.21>>. Except as otherwise indicated, provide standard metal threshold unit of type, size and profile as scheduled.

Finish: Manufacturer’s standard << mill finish aluminum; or  stainless steel>>.

HARDWARE FINISHES

Provide matching finishes for hardware units at each door or opening, except as otherwise specified.  Reduce differences in color and textures as much as commercially possible where base metal or metal forming process is different for individual units of hardware at the same opening.

Provide finishes which match those established by <<BHMA A156.18>>.

Provide quality of finish, including thickness of plating or coating (if any), composition, hardness and other qualities complying with manufacturer's standards, but in no case less than specified for the applicable units of hardware by referenced standards.

PART 3 - EXECUTION

INSPECTION

Verify that doors and frames are ready to receive hardware and that dimensions are as << indicated on shop drawings; or  instructed by the manufacturer>>.

      - ***************************************************************************************

      - Retain the following paragraph when power door operators selected for project.

      - ***************************************************************************************

Verify that power supply is available to power operated devices.

INSTALLATION

Installation of door hardware shall be per manufacturer's installation instructions.

      - ***************************************************************************************

      - Retain the following paragraph and subparagraphs for electric door strikes, VTR door locksets and/or exit devices.

      - ***************************************************************************************

Installation of the following will be done by LANL using certified locksmiths:

Electric door strikes.

VTR door locksets.

Exit devices.

ADJUSTING

Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit. Replace units that cannot be adjusted to operate as intended. Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with <<ABA Standards>>.

      - ***************************************************************************************

      - The following paragraphs are designer-choices. Retain the first paragraph when door closers are required for project. Retain the second paragraph when electric strikes are required for project.

      - ***************************************************************************************

Door Closers: Adjust sweep period and delay period, backcheck and latch speed, to comply with <<ABA Standards>> and functional requirements.

Electric Strikes: Adjust horizontal and vertical alignment of keeper to properly engage lock bolt.

CLEANING AND PROTECTION

Clean adjacent surfaces soiled by door hardware installation.

Clean operating items as necessary to restore proper function and finish.

Provide final protection and maintain conditions that ensure that door hardware is without damage or deterioration at time of Substantial Completion.

HARDWARE SCHEDULE

      - ***************************************************************************************

      - The following is an example of an acceptable hardware schedule depicting the minimum amount of information required to be provided (double leaf doors are used for this example). Other formats providing the same information are acceptable.

      - ***************************************************************************************

| Set # | Applies To | Qty | Manufacturer | Description | Model | Finish |
| --- | --- | --- | --- | --- | --- | --- |

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 08 7100, REV. 7, DATED APRIL 15, 2026.