Section 32 1216 
Asphalt Paving

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 7 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Civil POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specification sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

      - ==========================================================

      - This document refers to two scopes to facilitate tailoring. Retain the Scope 1, 2, or both material as appropriate.

      - - Scope 1: Minor and Miscellaneous Asphalt Paving:

        - Reference: NMDOT Standard Specifications for Highway and Bridge Construction, Section 416 MINOR PAVING and 417, MISCELLANEOUS PAVING.

        - Scope 1 covers miscellaneous paving projects, where the amount of asphalt to be placed is less than 1,500 tons, and is to be used for small parking lots, miscellaneous access roads, utility cuts, pot holes, minor intersection improvements, ditch, slope paving, median paving, guardrail pads, bicycle/pedestrian paths, trails, asphalt curbs, asphalt sidewalks, and driveways for building access.

      - - Scope 2: Major Asphalt Paving:

        - Reference: NMDOT Standard Specifications for Highway and Bridge Construction, Section 423, HOT MIX ASPHALT (HMA) – SUPERPAVE.

        - Scope 2 covers major paving projects such as roadway paving and parking lot paving projects that will utilize 1,500 tons or more of HMA.

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

      - ***************************************************************************************

      - The following paragraphs are designer-choice. Include paragraphs based on project-scope. Refer to author note above for scope of work involving minor and major asphalt paving. Typically major asphalt paving activities involve traffic control markings work. Tack coat is applied on asphalt paving during construction activity breaks during placement, and between old and new asphalt paving.

      - ***************************************************************************************

Minor and/or Miscellaneous Asphalt Paving

Major Asphalt Paving

Open-Graded Friction Course (OGFC)

Prime Coat

Tack Coat

Traffic Control Markings

RELATED REQUIREMENTS

Section << 01 3300 - Submittal Procedures>>

Section << 31 2000 - Earth Moving>>

REFERENCE STANDARDS

AASHTO R 18 - Standard Practice for Establishing and Implementing a Quality Management System for Construction Materials Testing Laboratories.

AASHTO R 35 - Standard Practice for Superpave Volumetric Design for Asphalt Mixtures.

AASHTO R 74 - Standard Practice for Wet Preparation of Disturbed Soil Samples for Test.

AASHTO T 11 - Standard Method of Test for Materials Finer than 75-µm (No. 200) Sieve in Aggregates by Washing.

AASHTO T 27 - Standard Method of Test for Sieve Analysis of Fine and Coarse Aggregates.

AASHTO T 30 - Standard Method of Test for Mechanical Analysis of Extracted Aggregate.

AASHTO T 85 - Standard Method of Test for Specific Gravity and Absorption of Coarse Aggregate.

AASHTO T 89 - Standard Method of Test for Determining the Liquid Limit of Soils.

AASHTO T 90 - Standard Method of Test for Determining the Plastic Limit and Plasticity Index of Soils.

AASHTO T 104 - Standard Method of Test for Soundness of Aggregate by Use of Sodium Sulfate or Magnesium Sulfate.

AASHTO T 164 - Standard Method of Test for Quantitative Extraction of Asphalt Binder from Asphalt Mixtures.

AASHTO T 166 - Standard Method of Test for Bulk Specific Gravity (Gmb) of Compacted Asphalt Mixtures Using Saturated Surface-Dry Specimens.

AASHTO T 176 - Standard Method of Test for Plastic Fines in Graded Aggregates and Soils by Use of the Sand Equivalent Test.

AASHTO T 209 - Standard Method of Test for Theoretical Maximum Specific Gravity (Gmm) and Density of Asphalt Mixtures.

AASHTO T 255 - Standard Method of Test for Total Evaporable Moisture Content of Aggregate by Drying.

AASHTO T 269 - Standard Method of Test for Percent Air Voids in Compacted Dense and Open Asphalt Mixtures.

AASHTO T 308 - Standard Method of Test for Determining the Asphalt Binder Content of Asphalt Mixtures by the Ignition Method.

AASHTO T 310 - Standard Method of Test for In-Place Density and Moisture Content of Soil and Soil–Aggregate by Nuclear Methods (Shallow Depth).

AASHTO T 312 - Standard Method of Test for Preparing and Determining the Density of Asphalt Mixture Specimens by Means of the Superpave Gyratory Compactor.

ASTM C131/C131M - Standard Test Method for Resistance to Degradation of Small-Size Coarse Aggregate by Abrasion and Impact in the Los Angeles Machine.

ASTM D2950/D2950M - Standard Test Method for Density of Asphalt Mixtures in Place by Nuclear Methods.

ASTM D3666 - Standard Specification for Minimum Requirements for Agencies Testing and Inspecting Road and Paving Materials.

FHWA MUTCD - Manual on Uniform Traffic Control Devices.

NMDOT SSHBC - New Mexico Department of Transportation, Standard Specification for Highway and Bridge Construction.

ACTION SUBMITTALS

Submit the following per Section << 01 3300 - Submittal Procedures>>:

Material certifications documenting compliance with <<NMDOT SSHBC>> including any Supplemental or Interim Specifications (i.e., use the latest specs).

Proposed mix design of each class of the HMA pavement with supporting documents in accordance with <<AASHTO R 35>>​.  Mix design analysis shall be developed by a laboratory accredited through AASHTO resource (formerly AMRL) and complying with <<AASHTO R 18>> and <<ASTM D3666>>.

Laboratory test reports and calculations for mix design for the HMA pavement.  The mix design reports shall be less than one year old and be from the same source for the aggregate to be used for the Project. Two or more aggregate sources may be used only when each individual aggregate source meets all applicable quality requirements.

Aggregate quality testing shall include Los Angeles Abrasion and Impact, Soundness Loss, Absorption, and Fractured Faces.

Certification from the testing laboratory responsible for material analysis and field testing, that equipment to be utilized is properly and currently calibrated.

Certification that testing personnel are in compliance with <<ASTM D3666>>​.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain when required.

        - ******************************************************************************

Traffic analysis, vehicle loadings, and structural design.

        - ******************************************************************************

        - The following two subparagraphs are designer-choice. Retain when traffic control markings is in project-scope.

        - ******************************************************************************

Detailed plan for temporary traffic control markings and traffic signs. This plan shall be approved by the LANL Traffic Engineer prior to applying the traffic control markings.

Detailed plan for permanent traffic control markings and traffic signs. This plan shall be approved by the LANL Traffic Engineer prior to applying the traffic control markings.

QUALITY ASSURANCE

Perform work in accordance with the respective, noted sections of <<NMDOT SSHBC>>, latest edition. Exclude <<NMDOT SSHBC>> Division 901, Quality Control/Quality Assurance (QC/QA) unless otherwise noted in Article ​<< 3.7; or  ___>>​, Field Quality Control, and any other references to "Method of Measurement", "Basis of Payment", and "Pay Factor Determination".

Supply the base course and prepare the subgrade in accordance with the <<NMDOT SSHBC>>, Section 303, Base Course and in accordance with Section ​<< 31 2000 - Earth Moving>>​.

The LANL STR shall submit the approved material certifications and mix designs to the LANL Utilities & Infrastructure (UI) Roads System Engineer and the LANL Construction Inspector for verification of construction items and certifications during field quality assurance.

PART 2 - PRODUCTS

MATERIALS

      - ***************************************************************************************

      - Specifiers Note on PG Binder: Determine the Final PG Binder using the following table, and update paragraph below "Final (adjusted) PG Binder [PG 58-22]” accordingly. As an example, if ESAL range is 3 to 10 and Traffic Loading Rate is Standing, then factor is 2. Multiplying that 2 by the 6 degree/grade amount in Note 1 yields 12. Adding 12 to the base PG 58-22 yields a final (adjusted) PG Binder of 70-22. Where adjusted binder needed varies based on location of job or sub-placements, so indicate.

      - Contact the LANL Traffic Engineer for project-specific, 20-Year-ESALs.

      - The base performance grade (PG) asphalt binder PG 58-22 shall be adjusted based on:

        - - 20-year-equivalent single-axle loads (ESALs).

        - - Design Gyrations = [75], per NMDOT SSHBC Section 417.2.2.

        - - Traffic Loading Rate (Standing/Slow/Standard) and resulting factor per the table below.

| 20-Year Design ESALs (Millions) | ​ Adjustment Factors to PG Base Binder Grade(1) |  |  |
| --- | --- | --- | --- |
|  | ​ Traffic Loading Rate |  |  |
|  | ​ Standing(2) | ​ Slow(3) | ​ Standard(4) |
| < 0.3 | 1 | -- | -- |
| 0.3 to < 3 | 2 | 1 | -- |
| 3 to 10 | 2 | 1 | -- |
| >10 | 2 | 1 | 1 |

      - (1) Increase the high-end temperature grade by the number of grades indicated (one grade is equivalent to 6 degrees C)

      - (2) Standing Traffic - the average traffic speed is less than 15 mph.

      - (3) Slow Traffic - the average traffic speed ranges from 15 mph to less than 45 mph.

      - (4) Standard Traffic - the average traffic speed is 45 mph or greater.

      - ***************************************************************************************

Final (adjusted) PG Binder is << PG 58-22; or  _______>> for specifying asphalt mix design.

      - ***************************************************************************************

      - The following two paragraphs apply to asphalt paving. Retain the first paragraph for minor/misc. asphalt paving and the second paragraph for major asphalt paving.

      - ***************************************************************************************

Minor and/or Miscellaneous Asphalt Paving:

Provide Hot-Mix Asphalt (HMA) pavement conforming to <<NMDOT SSHBC>>​, Section 416, Minor Paving and Section 417, Miscellaneous Paving.

Major Asphalt Paving:

Provide Hot-Mix Asphalt (HMA) pavement conforming to <<NMDOT SSHBC>>, Section 423, Hot-Mix Asphalt–Superpave.

Provide aggregates conforming to the requirements of <<NMDOT SSHBC>>, Table 423.2.2.1:1 “HMA Aggregate Gradation Control Points”. Ensure aggregate conforms to Table 423.2.2.1.2:1 “Minimum Fractured Faces, Sand Equivalent, and Fine Aggregate Angularity for Virgin Aggregates”.

Provide performance graded asphalt cement conforming to <<NMDOT SSHBC>>, Section 402, Asphalt Material, Hydrated Lime, and Anhydrite Based Material.

      - ***************************************************************************************

      - The following paragraph applies to OGFC course. Retain when applicable to the project.

      - ***************************************************************************************

Provide open-graded friction course conforming to <<NMDOT SSHBC>>, Section 403, Open-Graded Friction Course (OGFC).

Open-graded friction course: Provide aggregates conforming to the requirements of <<NMDOT SSHBC>>, Table 403.2.2:1.

Provide asphalt cement conforming to <<NMDOT SSHBC>>, Section 402, and the submitted laboratory mix design.

      - ***************************************************************************************

      - The following paragraph applies to tack coat. Retain when applicable to the project. Tack coat is applied on asphalt paving during construction activity breaks during placement, and between old and new asphalt paving.

      - ***************************************************************************************

Provide liquid asphalt tack coat conforming to <<NMDOT SSHBC>>, Section 407, Tack Coat.

      - ***************************************************************************************

      - The following paragraph applies to prime coat. Retain when applicable to the project.

      - ***************************************************************************************

Provide liquid asphalt prime coat conforming to <<NMDOT SSHBC>>, Section 408, Prime Coat shall be used as required by site conditions or design requirements and approved by the LANL UI Roads System Engineer and LANL STR.

      - ***************************************************************************************

      - Retain the following Article when traffic control markings is in project-scope.

      - ***************************************************************************************

TRAFFIC CONTROL MARKING

Provide paint for pavement markings (words, symbols, and stripes) conforming to <<NMDOT SSHBC>>, Section 704, Pavement Markings.  Comply with the requirements for the application, protection, and limitations of the paint.

Provide high performance, reflectorized glass beads for improved retro-reflectivity for roadway marking stripes conforming to <<NMDOT SSHBC>>, Section 704, Pavement Markings.

PART 3 - EXECUTION

PRE-JOB INSPECTION

Verify the compacted subgrade and base is ready to support paving and imposed loads.

Verify grades and elevations of base course are correct.

PREPARATION

      - ***************************************************************************************

      - The following three paragraphs are a designer choice. Retain those which apply.

      - ***************************************************************************************

Perform Pavement Crack Sealing in accordance with <<NMDOT SSHBC>>,  Section 411, Hot-Poured Crack Sealant.

Perform Pavement Cold Milling in accordance with <<NMDOT SSHBC>>,  Section 414, Cold Milling.

Perform Pavement Surface Restoration in accordance with <<NMDOT SSHBC>>, Section 415, Pavement Surface Restoration.

Remove loose and deleterious material from compacted base surface immediately. Surface and subgrade shall be free of frozen material and any material that contains ice crystals.

When placing HMA on base course, proof roll the base course with a 27-ton roller or other approved equipment and correct any soft areas, as directed by the LANL STR. Place the HMA on the approved surface, then spread, and strike off to the specified grade and elevation. Spread and compact the HMA in layers in accordance with the specifications.

Do not place HMA on wet or frozen surfaces or if weather conditions prevent proper handling, finishing, and compacting. Place HMA when the Chill Factor is at least 40 degrees F and rising. If the air temperature is 60 degrees F or warmer, do not consider the Chill Factor.

      - ***************************************************************************************

      - The following paragraph applies to prime coat. Retain when applicable to the project.

      - ***************************************************************************************

Apply prime coat at the rate as recommended by the laboratory mix design and approved by the LANL UI Roads System Engineer and LANL STR.

      - ***************************************************************************************

      - The following two paragraphs apply to tack coat. Retain when applicable to the project. The second paragraph must be retained to provide direction on how to handle breaks in construction activity.

      - ***************************************************************************************

Apply a tack coat to existing asphalt or new Portland cement concrete surfaces to receive the HMA pavement. Apply tack coat to vertical surfaces of existing or new pavement and concrete surfaces abutting or projecting into new asphalt pavement and construction joints. Apply material at a uniform application rate of 0.10 to 0.15 gal/sy to give a 0.03 to 0.05 gal/sy of residual asphalt on surfaces receiving the tack coat.

All surfaces shall be considered existing after a 12 hour break in construction activity, and shall require a tack coat, unless specified otherwise by the LANL UI Roads System Engineer and LANL STR.

PLACING ASPHALT PAVEMENT

Place HMA pavement in accordance with <<NMDOT SSHBC>>, Section 423.3.

Place the HMA by means of a paving machine on prepared surface, spread, and strike-off. Thickness of the pavement lifts shall be as recommended by the approved mix design, and as approved by the Engineer of Record (EOR) and/or the LANL UI Roads System Engineer. Place inaccessible and small areas by hand. Place each course to required grade, cross-section, and compacted thickness, per the approved mix design and as shown on drawings.

Target temperature: Do not allow the temperature of the HMA discharged from the plant mixer into the transport vehicle to be greater or less than the target mixing temperature of 310 degrees F as specified in the mix design by more than 10 percent, not to exceed 350 degrees F.

The laydown temperature of the HMA, at the time of placement shall be + or – 22 degrees F per the laydown temperature specified in the approved Project mix design.

HMA delivered to the Project site with mix and/or laydown temperatures outside the acceptable range are subject to rejection by the LANL Construction Inspector. The LANL STR and/or the LANL UI Roads System Engineer shall be notified immediately of conditions where the HMA does not meet the required temperature range.

        - ******************************************************************************

        - The following subparagraph applies to OGFC course. Retain when applicable to the project.

        - ******************************************************************************

OGFC placement temperature shall not exceed the asphalt binder Supplier’s recommendation or fall below 220 degrees F.

Compact the HMA thoroughly and uniformly immediately after placement. Operate rollers at speeds slow enough to minimize displacement of the HMA, including the lines and grades of the asphalt edges. Remove marks from pneumatic rollers and immediately correct any displacement. Do not use equipment that crushes the aggregate excessively.

At locations inaccessible to the rollers, compact the HMA with hot hand tampers, smoothing irons, or mechanical tampers. Remove areas that become loose, broken, mixed with dirt, segregated or defective, replace with fresh HMA, and compact to match the surrounding area.

Density for acceptance of HMA shall be 94.5 percent of theoretical maximum density as determined from <<AASHTO T 209>>. For determination of maximum specific gravity, obtain and test a minimum of two (2) samples of the HMA that is placed. Each individual density test value obtained shall be within + or – 3 percent of the theoretical maximum density.

        - Note: Final Densities at or below 90 percent of theoretical maximum density are subject to rejection by the LANL UI Roads System Engineer. All rejected asphalt material shall be removed and replaced in compliance with the Project documents at the Subcontractor’s expense.

Monitor the compaction process by determining the density of the HMA with a portable nuclear density gauge. Establish calibration of the portable nuclear density gauge from cut pavement samples (2 samples minimum). Determine the density readings of the cut pavement samples in accordance with <<AASHTO T 166>> (weight, volume method) and determine the density readings of the pavement with the portable nuclear density gauge. Perform density testing while the asphalt mixture is hot enough to permit further compaction. Do not roll for compaction when it becomes ineffective or damages the HMA. Do not use vibratory mode when the temperature of the mix is below 200 degrees F.

      - ***************************************************************************************

      - The following paragraph applies to tack coat. Retain to provide direction on how to handle breaks in construction activity and/or construction joints between old and new pavements.

      - ***************************************************************************************

Construction joints between old and new pavements, or between successive days' work shall have the same texture, density, and smoothness as other sections of the HMA course. Saw cut and clean the construction joint contact surfaces and apply tack coat. The location of cold joints in roadways shall be pre-determined by the Subcontractor and approved by the LANL STR and/or the LANL UI Roads System Engineer.

      - ***************************************************************************************

      - Retain the following Article when project-scope includes pavement penetrations, manholes or valve covers.

      - ***************************************************************************************

PAVEMENT PENETRATIONS, MANHOLES, AND VALVE COVERS

Manhole frames and valve covers shall be adjusted as per the Drawings and approved by the LANL STR and/or the LANL UI Roads System Engineer. The finish surface at the top of all asphalt concrete pavement penetrations, to include but not be limited to manhole frames and valve covers, shall be constructed to and be parallel in all directions to the finished surface of the surrounding asphalt concrete pavement prior to placing the surface course.

TOLERANCES

      - ***************************************************************************************

      - Refer to LANL Civil Standard Detail ST-G30GEN-4 for single utility trench detail. The first three paragraphs are designer-choice. Retain the first paragraph for major asphalt paving. Retain the second and third paragraphs for minor asphalt paving.

      - ***************************************************************************************

Pavement smoothness for roadways shall conform to the tolerances required by <<NMDOT SSHBC>>​, Section 401, Pavement Smoothness Measurement, consisting of providing and using profile testing Equipment that incorporates the Mean Roughness Index (MRI).

Use an MRI threshold (inch/mi) of 105.00 and a segment length of 25.00 feet. Identify must grind locations for each lane using the “MRI” Ride Quality Index. Any locations with a MRI of 105.00 to 125.00 will be evaluated by the LANL Construction Inspector, the LANL STR, and the Subcontractor, to determine if diamond grinding is required. Final determination will be made by the LANL UI Roads System Engineer. All locations with an MRI above 125.00 must be included in a corrective action plan.

Pavement smoothness and joints for pedestrian pathways, bicycle paths, and parking lots shall conform to the tolerances required by <<NMDOT SSHBC>>, Section 401, Pavement Smoothness Measurement, by use of straightedge measurements.

Test the final surface of HMA with an approved ten (10) foot straightedge at both right angles and parallel to the centerline, advancing the straightedge in five (5) foot increments. In lieu of a physical ten (10) foot straightedge measurement and at the direction of the LANL STR a profile measurement device that complies with <<NMDOT SSHBC>>, Section 401.3.1.1 “Profile Measurement Device” can be used for the ten (10) foot straightedge measurement. Correct surface deviations greater than 1/8 inch within ten (10) ft., as directed by the LANL Construction Inspector.

Asphalt pavement cuts for potholes shall be patched by hand placement or small asphalt paver suitable for width of the trench. Asphalt patch shall be the same depth as the adjacent pavement with the minimum depth being three inches. The finished surface of the patch shall match the contour and grade of the undisturbed adjacent pavement.

After the completion of final rolling, the smoothness of the course shall be checked, and the irregularities that exceed the specified tolerances and/or retain water on the surface shall be removed and replaced by the Subcontractor at no additional cost to the Project.

      - ***************************************************************************************

      - Retain the following Article when traffic control markings is in project-scope.

      - ***************************************************************************************

PAVEMENT MARKINGS

      - ***************************************************************************************

      - Refer to LANL Civil Standard Drawing ST-G2020-1 for parking lot pavement marking layout.

      - ***************************************************************************************

Sweep and clean surfaces using the means necessary to eliminate any loose material, dirt, grease, and debris.

The Subcontractor shall perform a detailed layout by providing preliminary spotting of the permanent pavement lines and other markings as shown on the approved detail plan.  Acceptance by LANL Traffic Engineer shall be obtained before permanent marking begins.

All pavement markings shall be as shown on the Drawings.

Apply three (3) coats of paint.  The initial application of paint shall be placed no sooner than 7 days after paving is complete. The second and third application of paint shall be placed no sooner than 14 days after the first application unless otherwise approved by the LANL UI Roads System Engineer.

Apply paint with a spray-type self-propelled pavement marking machine suitable for applying traffic paint to produce uniform straight edges without running or splattering.

Provide necessary measures to divert traffic from the paint installation area during the application and drying time of the permanent traffic control markings and stripes.

Paint for word markings, letters, numerals, and symbols shall be applied using suitable spray equipment together with stencils and templates that dimensionally conform to existing LANL stencils and templates.

Paint shall be applied within the temperature range specified by the manufacturer.

When existing permanent or temporary detour striping or markings are no longer required they shall be removed by wet blasting.

FIELD QUALITY CONTROL

Preliminary Test Strip (Minor and Major Asphalt Paving):

Prior to initiating the placement, the Subcontractor shall produce a test strip to develop the ideal placement plan and rolling pattern.  The rolling pattern shall be repeated until optimal density and break point is determined.  Test-strip paving that does not comply with the density requirement of this Section may be accepted for use at the discretion of the LANL UI Roads System Engineer.

          - Note: Size or length of the test strip shall be determined on a project-specific basis and agreed upon between the Subcontractor and the LANL UI Roads System Engineer.  In no case shall it be less than 1,200 sq. ft. (nominally 12-15 ft. wide) unless Project size dictates a smaller area, nor shall the size be greater than four times that (4,800 sq. ft.).

Once a rolling pattern has been established, density cores (3 minimum) shall be acquired by the Project testing agency, and laboratory analysis performed in order to correlate all Nuclear Density Gauges to be used on the Project site.

Once optimal density for the Project is identified by the Project testing agency, and with concurrence with LANL Construction Inspector, the Subcontractor shall submit a field execution work plan for review and approval by the Engineer of Record and LANL UI Roads System Engineer.

Once approval of the work execution plan is granted, the Project placement may proceed, and all work shall be executed per the approved plan. If Subcontractor wishes to deviate from the approved plan at any time during the placement, they shall submit a request to the Engineer of Record and the LANL UI Roads System Engineer for review and approval prior to proceeding.

Field Documentation: The Subcontractor shall ensure that the testing agency is documenting, and provides to the LANL STR the following minimum information to support any HMA Placement:

Start time, end time, and any delays encountered during the placement.

Ambient temperature at start of placement and periodically throughout the placement.

Asphalt temperature (out of truck and laydown) if significant waiting time.

Surface temperatures.

Truck arrival times, and if determined to be a concern, waiting time for each truck.

Site conditions at the time of placement and throughout the placement (weather etc.).

Description of the placement method (mechanical or hand placement).

Any names, discussions/decisions made with LANL staff about the placement.

Testing

        - ******************************************************************************

        - Retain the following subparagraph for minor/misc asphalt paving.

        - ******************************************************************************

Minor and/or Miscellaneous Asphalt Paving:

Prior to final acceptance of the HMA, an evaluation of the in place material, and the completed work shall be done by the LANL UI Roads System Engineer to determine the need for testing of minor and/or miscellaneous paving. Contact the LANL STR immediately if testing will be required.

If required by the LANL UI Roads System Engineer, the Subcontractor is responsible for the following minimum tests as part of the final acceptance:

Density (Nuclear): As needed to control operations per <<AASHTO T 310>>.

Smoothness: See Article ​<< 3.5; or  _______>>​ Tolerances.

Thickness, Mat Density, Cores: <<AASHTO T 166>>,<<AASHTO T 209>>. Determine thickness by coring the in place compacted material and measuring the thickness to the nearest 1/4 inch using a measuring tape.

        - ******************************************************************************

        - Retain the following subparagraph for major asphalt paving.

        - ******************************************************************************

Major Asphalt Paving:

Testing of aggregates for HMA shall be as follows (see Section 901, Table 901.7.3 of the <<NMDOT SSHBC>> for list of all-inclusive testing and required frequency):

Gradation: <<AASHTO T 11>>, <<AASHTO T 27>>, <<AASHTO R 74>>

Fractured Faces: NMDOT Method FF1.

Sand equivalent: <<AASHTO T 176>>

Plasticity Index: <<AASHTO T 89>>, <<AASHTO T 90>>

Moisture Content: <<AASHTO T 255>>

Los Angeles Wear: <<ASTM C131/C131M>>,  <<AASHTO T 104>>

Soundness Loss: <<AASHTO T 85>>

Testing of HMA as specified in the <<NMDOT SSHBC>> (see Section 901, Table 901.7.4 of the <<NMDOT SSHBC>> for list of all-inclusive testing and required frequency):

Asphalt Content: <<AASHTO T 308>>

Gradation: <<AASHTO T 30>>, <<AASHTO T 164>>, <<AASHTO T 308>>

Air Voids: <<AASHTO T 166>>, <<AASHTO T 209>>, <<AASHTO T 269>>

Voids in Mineral Aggregate (VMA): <<AASHTO R 35>>

Voids Filled with Asphalt (VFA): <<AASHTO R 35>>

Dust to Binder Ratio: <<AASHTO R 35>>

Gyratory Tests: <<AASHTO T 312>>

Thickness, Mat Density, Cores: <<AASHTO T 166>>, <<AASHTO T 209>>. Determine thickness by coring the in place compacted material and measuring the thickness to the nearest 1/4 inch using a measuring tape.

Density (Nuclear): As needed to control operations per <<AASHTO T 310>>​.

Temperature: See Article Placing Asphalt Pavement, paragraph << 3.3.C; or  _______>>Target temperature.

Provide an AASHTO resource (formerly AMRL) accredited independent testing agency to perform field testing of installed products to include compaction, smoothness, thickness, and test samples that shall verify quality control requirements. Testing equipment used in the performance of specified testing shall be calibrated annually with calibration standards traceable to NIST. A copy of the certifications shall be submitted to the LANL STR and/or LANL UI Roads System Engineer upon request.

Provide unobstructed access to all work areas and cooperate with the appointed testing agency's laboratory technician.

Submit test results within 3 working days of test to LANL STR and/or LANL UI Roads System Engineer.

Testing Frequency for HMA:

          - **********************************************************************

          - Retain the following subparagraph for minor/misc asphalt paving.

          - **********************************************************************

Minor and/or Miscellaneous Asphalt Paving:

Perform testing as required below for Major Paving, or as specified in this Section.

          - **********************************************************************

          - Retain the following subparagraph for major asphalt paving.

          - **********************************************************************

Major Asphalt Paving:

Thickness: Take measurements at a randomly selected locations, or as directed by the LANL Construction Inspector.

Mat Density Cores: Density calculation will use the daily average of specific gravity as validated by F-test and T-test in the daily calculation.

            - *************************************************************

            - Field Density testing frequency for parking lots and other applications where linear footage is not appropriate, the testing frequency shall be specified in square feet of area placed.

            - *************************************************************

Field Density: Baseline testing shall be one test per ​​​<< 100; or  _______>>​​​ linear foot. If after the first ​​​<< 500; or  _______>>​​​ feet of testing, consistent passing results are documented, the LANL Construction Inspector may increase the frequency of tests to every ​​​<< 500; or  _______>>​​​ linear feet.

Anytime during the testing process consistent failures are encountered, the LANL Construction Inspector shall re-evaluate the testing frequency. Contact the LANL STR and/or the LANL UI Roads System Engineer immediately of any changes in testing frequency.

HMA Materials: Minimum one (1) test per ​​​<< 500; or  _______>>​​​​ tons.

Minimum of one (1) test per day and three (3) tests per sublot except for maximum specific gravity. Obtain a minimum of two (2) tests per day for maximum specific gravity. If sublot size is reduced to 1500 tons or less, perform testing at a rate of one (1) test per 500 tons with a minimum of one (1) per day.

Subcontractor Quality Control for Compaction: Subcontractor shall monitor the compaction process by determining the density of the hot-mix asphalt with a portable nuclear densometer in accordance with <<ASTM D2950/D2950M>>. Density testing will be conducted as needed to control operations. The Independent Testing Laboratory shall provide certification that the portable nuclear densometer has been calibrated and readings are accurate.

Final Acceptance

        - ******************************************************************************

        - Retain the following subparagraph for minor/misc asphalt paving.

        - ******************************************************************************

Minor and/or Miscellaneous Asphalt Paving:

Final acceptance of minor and/or miscellaneous paving shall be provided by the LANL Construction Inspector and/or the LANL UI Roads System Engineer. Final acceptance shall be based on visual examination, verification of line and grade, and testing if determined necessary per subparagraph << 3.7.C.1.a; or  _______>> of this article.

Visual inspection, a pass or fail of the HMA shall be documented by the LANL Construction Inspector. Contact the LANL STR immediately of any failed HMA.

        - ******************************************************************************

        - Retain the following subparagraph for major asphalt paving.

        - ******************************************************************************

Major Asphalt Paving:

The Subcontractor shall perform Quality Control sampling, testing, and inspection in accordance with <<NMDOT SSHBC>>​, Section 901, Table 901.7:3, “Minimum Process Control Guidelines for Aggregates and Base Course,” Table 901.7:4, “Minimum Process Control Guidelines for Hot Mix Asphalt,” and Table 901.7:5, “Minimum Process Control Guidelines for Portland Cement Concrete Pavement”.

Acceptance of major paving shall be based on compliance with all applicable requirements of this Section.

CLEANING AND PROTECTION

Cleaning

After completion of paving operations, clean surfaces of excess or spilled asphalt material to the satisfaction of LANL STR.

Protection

After final rolling, do not permit vehicular traffic on the HMA pavement until it has properly cooled and hardened.

Provide barricades and warning devices as required to protect pavement, employees, and the general public.  Temporary traffic control devices shall meet the requirements of the <<FHWA MUTCD>>​, latest edition.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 32 1216, REV. 7, DATED APRIL 15, 2026.